Identified Issues

These represent the operational gaps and technical failures that the project was designed to solve:

- System Synchronization Failure: The legacy ETRM system failed to lock the correct MW, resulting in a "Broken Payload" during the automation process.

- Physical Constraint Violations: Submitted bids (165 MW) were exceeding the resource’s maximum capacity (PMax of 155 MW).

- Ramp Rate Non-Compliance: Real-time bids failed to stay within the 5-minute ramp limits based on the current Dispatch Operating Target (DOT).

- Compliance & Financial Risk: Errors in the XML payload created a high risk of invalid bid rejections and costly imbalance penalties from CAISO.

- Telemetry Mismatch: A lack of real-time reconciliation between market bids and actual SCADA telemetry data.